| ###### ROOF CONSTRUCTION WORKS PERMIT | Project Number & Name: |  |  |  |
| --- | --- | --- | --- | --- |
|  | Contractor: |  |  |  |
|  | Contractor’s Site Manager | Name:- Mob:- |  |  |
| Contractors who are required to carry out any works on a roof must be authorised to do so. A suitable risk assessment and method statement must be provided and agreed with the Project and Building Managers, prior to the works commencing on site. Roof works are defined as any activity which involves drilling or cutting holes through a roof structure, or undertaking any work that has the potential to damage the roof surface e.g. removing and installing temporary, or permanent, plant, equipment, services, or structures. |  |  |  |  |
| Key Questions: |  |  | YES | NO |
| Can this task be done without having to penetrate the roof surface? |  |  |  |  |
| Can the work be done without affecting the integrity of the roof? |  |  |  |  |
| Have the appropriate College permits been issued authorising the work? |  |  |  |  |

| SECTION 1 – Specification of Work |  |  |
| --- | --- | --- |
| Location of Work Area (attach drawing): |  |  |
| Purpose and description of the work to be undertaken. |  |  |
| Duration of work: | Start Date/Time: | Finish Date/Time: |

| SECTION 2 – Top 5 Risks and Control Measures |  |  |
| --- | --- | --- |
| Task | Hazard | Control Measures |
| Any works to existing services required? YES / NO - If YES, consultation with building maintenance team to be undertaken in advance. - Any isolation works MUST be undertaken in agreement with, the Building Maintenance Manager. - The Contractor MUST ensure that service locations are identified and checked as accurate, with the Building Maintenance Manager, prior to any works on building services being undertaken. NB:Maintenance require a minimum of 6 working days-notice for isolations ……………………………………………………………………………………………………………………………………………………………………………. |  |  |

| SECTION 3 – Checklist Use these questions as a prompt. Mark YES or NO against each if needed. | YES | NO |
| --- | --- | --- |
| Have relevant permits been requested from Estates Facilities (e.g. roof access permit) |  |  |
| Have the current service drawings been checked above and below potential work areas? |  |  |
| Is edge protection in place, or required? (RAMS must identify any additional local control measures necessary) |  |  |
| Have temporary waterproofing measures been considered? |  |  |
| Have temporary barriers and signage been identified and installed? |  |  |
| Have alternative walkways and emergency egress/exist routes been identified? |  |  |
| Have trip hazards been identified and suitably controlled? |  |  |
| Have harness requirements been identified? |  |  |
| Have harness anchorages been identified and inspected and are the test certificates still valid? |  |  |
| Are tools required to be tethered? |  |  |
| Have works been planned to consider local user use (e.g. noise, dust, vibration issues)? |  |  |
| Have drawings been updated following the work? |  |  |
| Will the works require a hot works permit? If the answer is yes, the contractor must advise the Fire Officer using the Project’s “Notification of Hot Works” pro-forma, issue their own hot works permit and adequately manage the process. All this in accordance with the Projects “Health, Safety and Environmental Code of Practice Construction 2016”. |  |  |

SECTION 4 – Authorisation to Work

- I accept this Permit, agree to be bound by the conditions detailed above and the associated procedure(s), and accept responsibility as the person directly in charge of the work.

- I have read the attached risk assessments / method statement / procedures and will ensure the required controls will be put in place.

| Name: |  |  | Signature: |  | Date: | / / |
| --- | --- | --- | --- | --- | --- | --- |
| I authorise the roof works to commence subject to the conditions / precautions of the attached Risk Assessment / Method Statement. Note: RAMS MUST be attached to this document and agreed, for this permit to be completed and signed off. |  |  |  |  |  |  |
| Project Manager |  |  | Signature: |  | Date: | / / |
| Building Manager |  |  | Signature: |  | Date: | / / |

| SECTION 5 – Completion, Suspension or Cancellation of Work Please TICK the appropriate response: |  |  |  |
| --- | --- | --- | --- |
| All work associated with this works permit has been: |  |  COMPLETE  CANCELLED  SUSPENDED |  |
| Have plant and equipment been inspected by the Building Maintenance Manager and returned to service? Has the roof been cleaned and cleared of all contractor’s tools, equipment and materials? |  |  YES  NO |  |
| Any additional comments: ………………………………………………………………………………………………………………………………………………………………….. ……………………………………………………………………………………………………………………………………………... |  |  |  |
| Project Manager | Signature: |  | Date cancelled: Time: |
| Building Manager | Signature: |  | Date cancelled: Time: |