## Tab
DATA INPUT BOX 1: GENERAL INFO
Lab: |  | Adhesive: |  |  | Test Date: |  |  | DATA INPUT BOX 4: TEST DATA |  |  |  |  | CALCULATED VALUES |  |  |  |  | CALCULATED INTERMEDIATE VALUES
Personnel: |  | Adherend: |  |  | Test Code: |  |  | Text | Text | a [mm] | Load [N] | d [mm] | dCOR [mm] | G SBT [J/m2] | G CBT [J/m2] | G ECM [J/m2] | Ef [GPa] | Text | a [mm] | F [-] | N [-] | F/N [-] | C [mm/N] | (C/N)^1/3 | Log [C/N] | Log (a) | m [1/mm] | d/a
[13 empty] | Eqn. [A.2] | Eqn. [4] | Eqn. [5] | Eqn. [9] | Eqn. [8] | [10 empty] | (<0.4 ?)
DATA INPUT BOX 2: SPECIMEN DATA | [7 empty] | insert | NL |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | NL | 0 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | #DIV/0! | #DIV/0!
Specimen Length........ | l [mm] |  |  |  |  | System | compli. cor. | insert | Visual |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | Visual | 0 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | #DIV/0! | #DIV/0!
Arm thickness........ | h [mm] |  |  |  |  | Ctotal [mm/N] | 0 | insert | Max/5% |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | Max/5% | 0 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | #DIV/0! | #DIV/0!
Max. thickness variation........ | [mm] |  |  |  |  | CCS [mm/N] | 0 | precrack | NL |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | NL | 0 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | #DIV/0! | #DIV/0!
Specimen width........ | B [mm] |  |  |  |  | CSY [mm/N] | 0 | precrack | Visual |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | Visual | 0 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | #DIV/0! | #DIV/0!
Inset film material........ | [-] |  |  |  |  | Calc. end | block dimen. | precrack | Max/5% |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | Max/5% | 0 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | #DIV/0! | #DIV/0!
Insert film thickness……. | [mm] |  |  |  |  | l1 [mm] | N/A |  | Propagation |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | Propagation | 0 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | #DIV/0! | #DIV/0!
Insert film total length……. | A [mm] |  |  |  |  | l2 [mm] | N/A |  | Propagation |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | Propagation | 0 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | #DIV/0! | #DIV/0!
Insert length (from load-line)…… | ao [mm] |  |  |  |  | Plasticity | check |  | Propagation |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | Propagation | 0 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | #DIV/0! | #DIV/0!
Precrack length (from load-line)…. | ap [mm] |  |  |  |  | doffset [mm] | 0 |  | Propagation |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | Propagation | 0 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | #DIV/0! | #DIV/0!
Flexural modulus of arm........ | Es [GPa] |  |  |  |  | dmax [mm] | 0 |  | Propagation |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | Propagation | 0 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | #DIV/0! | #DIV/0!
Adhesive layer thickness……. | ha[mm] |  |  |  |  | doffset/dmax | #DIV/0! |  | Propagation |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | Propagation | 0 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | #DIV/0! | #DIV/0!
[6 empty] | % change | compliance |  | Propagation |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | Propagation | 0 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | #DIV/0! | #DIV/0!
DATA INPUT BOX 3: CURE AND TEST DATA | [5 empty] | insert | #DIV/0! |  | Propagation |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | Propagation | 0 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | #DIV/0! | #DIV/0!
Adhesive cure temperature........ | Tmc [°C] |  |  |  |  | precrack | #DIV/0! |  | Propagation |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | Propagation | 0 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | #DIV/0! | #DIV/0!
Adhesive cure time........ | tc [mins] | [7 empty] | Propagation |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | Propagation | 0 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | #DIV/0! | #DIV/0!
Drying cycle temperature........ | Td [°C] |  | REGRESSION ANALYSES | [5 empty] | Propagation |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | Propagation | 0 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | #DIV/0! | #DIV/0!
Drying cycle time........ | td [mins] |  | Method | CBT |  |  | ECM |  | Propagation |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | Propagation | 0 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | #DIV/0! | #DIV/0!
Test Temperature........ | [°C] |  |  | slope | Y-axis | slope | Y-axis |  | Propagation |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | Propagation | 0 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | #DIV/0! | #DIV/0!
Test relative humidity........ | rh [%] |  | Value | #VALUE! | #VALUE! | #DIV/0! | #DIV/0! |  | Propagation |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | Propagation | 0 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | #DIV/0! | #DIV/0!
Test loading rate........ | [mm/min] |  | Correction | D= | #VALUE! | n= | #DIV/0! |  | Propagation |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | Propagation | 0 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | #DIV/0! | #DIV/0!
Test unloading rate........ | [mm/min] |  | Corr. coeff. | r2= | #VALUE! | r2= | #DIV/0! |  | Propagation |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | Propagation | 0 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | #DIV/0! | #DIV/0!
End block height........ | H [mm] | N/A | [6 empty] | Propagation |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | Propagation | 0 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | #DIV/0! | #DIV/0!
End block length........ | l3 [mm] | N/A | SUMMARY RESULTS BOX | [5 empty] | Propagation |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | Propagation | 0 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | #DIV/0! | #DIV/0!
Unloading line offset d | doffset [mm] |  | Point |  | G SBT [J/m2] | G CBT [J/m2] | G ECM [J/m2] |  | Propagation |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | Propagation | 0 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | #DIV/0! | #DIV/0!
Max or 5% init from precrack?... | Max or 5%? |  | Min from insert [J/m2] |  | #DIV/0! | #DIV/0! | #DIV/0! |  | Propagation |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | Propagation | 0 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | #DIV/0! | #DIV/0!
Compliance of combined system | Ctotal [mm/N] |  | Min from precrack [J/m2] |  | #DIV/0! | #DIV/0! | #DIV/0!
Compliance of calibration spec. | CCS [mm/N] |  | Mean Propagation [J/m2] |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | SD of propagation [J/m2] |  | #DIV/0! | #DIV/0! | #DIV/0!
OBSERVATIONS AND/OR COMMENTS: |  |  | CoV of propagation (%) |  | #DIV/0! | #DIV/0! | #DIV/0!
e.g. plastic deformation seen on final unloading? |  | Yes/No
|  |  | Modulus, Ef | Mean [GPa] | SD [GPa] | COV (%)
|  |  |  | #VALUE! | #VALUE! | #VALUE!